### Format of .SPE files

ndet	ne					! number of workspaces and number of energy bins

### Phi Grid					! angular boundaries i.e. (ndet+1) values; is redundant

ang(1)	ang(2) … 		ang(8)

ang(9)	ang(10) … 		ang(16)

:

…	ang(ndet+1)

### Energy Grid				! Energy bin boundaries i.e. (ne+1) values

en(1)	en(2) … 		en(8)

en(9)	en(10) … 		en(16)

:

…	en(ne+1)

### S(Phi,w)					! Intensities for first workspace

s(1)	s(2) …		s(8)

s(9)	s(10) …		s(16)

:

…	s(ndet)

### Errors						! Standard deviation for first workspace

err(1)	err(2) …		err(8)

err(9)	err(10) …		err(16)

:

…	err(ndet)

### S(Phi,w)					! Intensities for second workspace

:

### Errors						! Standard deviation for second workspace

:

… and so on until completed ndet workspaces

The Fortran format string for the write statements on VMS is

2i8		ndet, ne

8e10.3	all other arrays

IMPORTANT NOTE: in the array corresponding to the signal, the number -1030 is to be interpreted as not-a-number. That is, the corresponding pixel is to be masked. Usually of course, a detector is masked, so that all the signal array corresponding to that workspace will contain -1030. The corresponding error should be zero.